## Slide 1
AI-Based Solar Panel Performance Monitoring and Fault Detection
A Project Based Learning Presentation Submitted in partial fulfilment of the requirements for Bachelor of Technology
Submitted by: Roll.no: NAME | Roll.no: NAME | Roll.no: NAME Under the guidance of: XXXX (Faculty Name) Department of Electronics and Communication Engineering Koneru Lakshmaiah Education Foundation, KLH University

## Slide 2
1. Abstract & Problem Statement
Abstract
An integrated AI-based fault detection framework combining analog signal conditioning, signal processing filtering, and Machine Learning classification for solar PV systems.
Problem Context
Photovoltaic efficiency drops due to undetected micro-faults, dust, and shading. Early automated detection restores optimal energy output.

## Slide 3
2. Methodology & Architecture
Analog Circuit Design
Voltage divider with op-amp buffer, ACS712 current sensing, and low-pass filtering.
Signal Processing
Denoising raw signals, V-I characteristic parameter extraction, and baseline power normalization.
Machine Learning
Random Forest Multi-Class Classifier trained on sensor time-series telemetry.

## Slide 4
3. Experimental Setup & Dataset
Dataset & Parameters
1000+ sensor reading samples comprising Irradiance, Temperature, Voltage, and Current.
Fault Classes Evaluated
1) Normal Operation, 2) Partial Shading, 3) Degradation/Soiling, 4) Short Circuit.

## Slide 5
4. Results & Performance Analysis
Model Performance
High classification accuracy (~97.5%) with robust F1-scores across all fault classes.
Circuit Stability
Conditioning circuits ensured steady ADC signals with low signal noise.

## Slide 6
5. Conclusion & Future Work
Conclusion
Successfully realized an interdisciplinary PBL solution bridging analog electronics, DSP, and machine learning.
Future Scope
Integration of IoT gateways, edge-AI chips, and drone-based thermal imaging cross-validation.